**Addendum to Tender MR68-2018**

The attached Addendum should be attached to and form part of Tender MR68-2018 for the Supply**, Install and Commissioning** of UPS system for Navutu, Namoli CSC and Kinoya.

**Price Schedule per site**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Nos.** | **Description** | **Quantity** | **Delivery Term** | **Lead Time** | **Currency** | **Unit Price** | **Total Price (VIP)** |
| 1 | Industrial Based Smart Online 10kVA Single Phase UPS System OR Industrial Base Smart Online 3 Phase IN and OUTPUT 240Vac | 1 |  |  |  |  |  |
| 2 | 42RU Rittal Network cabinet | 1 |  |  |  |  |  |
| 3 | 12V 150Ah Deep Cycle Industrial Batteries (to suite the site load (5kVA) and backup time (7 hours) required) |  |  |  |  |  |  |
| 4 | Surge Protection Unit or 240V AC OR 415VAC | 1 |  |  |  |  |  |
| 5 | UPS By-Pass Switch  Cater 240Vac or 415Vac | 1 |  |  |  |  |  |
| 6 | Load Distribution Panel 240VAC | 1 |  |  |  |  |  |
|  7 | Installation Cost | 1 |  |  |  |  |  |
| 8 | Commissioning Cost | 1 |  |  |  |  |  |